“Specifications of Accelerometer & Low Outgassing Cable”

| Accelerometer |  |
| --- | --- |
| Type | Triaxial ICP Type |
| Sensitivity | 10 mV/g (+/- 10%) |
| Measurement Range | 500 g |
| Frequency Range | 2 to 7 kHz (+/- 5%) |
| Weight | < 5 g |
| Low Outgassing Cable |  |
| Type | 4-conductor, Shield cable |
| Length | > 20 ft |
| Connector | mini 4 pin plug to 3 BNC Plugs |
| Outgassing | TML ≤ 1%, CVCM ≤ 0.1% |

* The Certificate of Accreditation issued by KOLAS or The Certificate of Accreditation approved by KOLAS shall be required.